**LBTR016F**

**16-port 10/100BASE-TX Industrial Ethernet Switch**



**Interface**

* 16-port 10/100Base-Tx RJ-45 with auto negotiation and auto-MDI/MDI-X function

 **Industrial conformance**

* 12V to 52V DC, redundant power input
* -40℃ to 80℃ operating temperature
* IP40 aluminum housing
* Supports Air discharge: ±12kV
* Contact discharge: ±8kV
* Free Fall, Shock and Vibration Stability
* DIN-rail hardware design

**Slim Type with more Practicability and Convenience**

LBTR016F an hardened 16-port Industrial Ethernet Switch, provides non-blocking wire-speed performance in harsh industrial environment. It also provides 16-port 10/100BASE-TX RJ45 copper interfaces delivered in an IP40 rugged, strong case with redundant power system. Its slim case is suitable for such applications as surveillance system deployments, control management and wireless service in climatically demanding environments with wide temperature range from -40℃ to 80℃.

The LBTR016F is packaged in a compact IP40 case that allows DIN rail to have efficient usage of cabinet space. It provides an integrated power supply with a wide range of voltages for worldwide operation. It also offers dual-redundant, reversible polarity 12V DC to 52V DC power supply inputs for high availability applications requiring dual or backup power inputs.

**Specifications:**

|  |  |
| --- | --- |
| Model No. | **LBTR016F** |
| 10/100/1000BASE-TX Port | 16 port RJ-45 auto-MDI / MDI-X  |
| Performance Specification | Bandwidth: 3.2Gbps Packet Buffer Memory:4MbitPacket Forwarding Rate: 2.4Mpps MAC Address Table: 8K |
| Installation | DIN rail  |
| Maximum Frame Size | 2000bytes packet size |
| Flow Control | Back pressure for half duplex, IEEE 802.3x pause frame for full duplex |
| Enclosure | IP40 aluminum housing |
| LED Indicator | Power: RedEthernet: Yellow  |
| Power Input | 12 to 52V DC redundant power  |
| Power Consumption | 10 watts |
| Surge protection | ±4KV  |
| Network Protocols | IEEE802.3 10BASE-TIEEE802.3i 10Base-TIEEE802.3u;100Base-TX IEEE802.3x |
| Network cables | 10BASE-T: Cat3,4,5 UTP(≤100 meter) 100BASE-TX: Cat5 or later UTP(≤100meter) |
| Industry Standard | EMI ：FCC Part 15 Subpart B Class A，EN 55022 Class AEMS :IEC(EN)61000-4-2(ESD) : ±8Kv contact discharge,±12kV air dischargeIEC(EN)61000-4-3(RS) : 10V/m(80～1000MHz)IEC 61000-4-4 (EFT), Power cord ±4kV  data cable:±2kVIEC 61000-4-5 (Surge), Ethernet port ±4kV CM//±2kV DMIEC(EN)61000-4-6(RF conduction) : 3V(10kHz～150kHz),10V(150kHz～80MHz)IEC(EN)61000-4-16(common conduction) : 30V cont. 300V,1sIEC(EN )61000-4-8Shock: IEC 60068-2-27Free fall: IEC 60068-2-32Vibration: IEC 60068-2-6 |
| MTBF | >300,000hours |
| Certification | CE FCC Rohs compliance |
| Dimensions (W x D x H) | 179 x 134 x 46 mm  |
| Weight | Product Weight: 0.9KGSPacking Weight: 1.0KGS |
| Working Environment | Working temperature: -40～80℃ ; Storage temperature: -40～80℃Relative Humidity: 5%~95 %( no condensation) |
| Warranty  | 1-year replacement with new item; 3-years for main parts.  |

**Dimensions**

